Surface Water Quality  Study at 4 locations: S1( Sitalakhya River at Kanchan Bridge),  S2 ( Sitalakhya River  in between Kaliganj Ferry & Ghorasal Bridge), M1( Meghna River at Bisnandi) & M2( Meghna River at Baidder Bazar at approximate  10 km up stream Meghna  Bridge)Duration: March 22,2010 to  August 11,2010

| SL | Parameter | Unit | Bangladesh Drinking water Standard ECR ‘92 | Location |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | S1 |  | S2 |  | M1 |  | M2 |  |
|  |  |  |  | Max | Min | Max | Min | Max | Min | Max | Min |
| 1 | Turbidity | NTU | 10 | 119 | 8.67 | 96 | 3.47 | 52.1 | 3.95 | 45.5 | 3.75 |
| 2 | Ammonia | mg/l | 0.5 | 26.4 | 0.25 | 0.50 |  | 0.56 | 0.20 | 0.55 | 0.20 |
| 3 | C O D | mg/l | 4 | 35 | 9 | 9 | 5 | 6 | 6 | 21 | 7 |
| 4 | TSS | mg/l | 10 | 94 | 7 | 5 | 9 | 9 | 7 | 18 | 10 |
| 5 | TDS | mg/l | 1000 | 383 | 91 | 229 | 79 | 236 | 50 | 110 | 37 |

Source: feasibility study for augmentation of water supply to Dhaka. Final Report August, 2011